## 4군
검사시약 및 재료 입찰품목내역서
(단위 :원)
4군 | 순번 | 관리코드 | 품 명 | 납품규격 | 단 위 | 예정 수량 | 단가 | 예정금액 | 비 고
합계 | [7 empty] | 0
4군 | 1 | hem25 | Filter Paper | no.2/100ea | ea | 1500 |  | 0
| 2 | hem31 | Rapid-Malaria Ag(p.f/pan) | 25x1 | T | 25 |  | 0 | QC물질제공, lot변경시 QC결과첨부
| 3 | hem45 | Methyl alcohol | 1L | mL | 5000 |  | 0
| 4 | mb022 | Microcentrifuge tube | 500s | ea | 1500 |  | 0
| 5 | mb036 | OC Sensor-Latex | 15mLx5(1,100) | mL | 750 |  | 0 | 임대장비 전용시약 OC-Sensor PLEDIA (70-40-100-110-2) 2019.06.11~현재
| 6 | mb037 | OC Sensor-Buffer | 500mLx1(1,250) | mL | 10000 |  | 0
| 7 | mb038 | OC Sensor-Sampling bott. III | 1,000x1(1,000) | Bottle | 8000 |  | 0
| 8 | mb039 | OC Sensor-LX-Detergent solution | 1,500x1(8,000) | mL | 1500 |  | 0
| 9 | mb040 | OC Sensor-Calibrator 2kit | 3mLx1(3) | mL | 15 |  | 0
| 10 | mb041 | OC Sensor-Control LV-1 | 5mLx2(40) | mL | 100 |  | 0
| 11 | mb042 | OC Sensor-Control LV-2 | 5mLx2(40) | mL | 100 |  | 0
| 12 | mic45 | Bacitracin-A(0.04IU) | 50x10 | T | 500 |  | 0 | (REF231552)
| 13 | mic46 | Optochin disc(5ug) | 50x10 | T | 500 |  | 0 | (REF231554)
| 14 | mic47 | Novobiocin disc(30ug) | 50x10 | T | 500 |  | 0 | (REF231315)
| 15 | mic48 | Cepinase Disc (b-lactamase) | 50x1 | T | 50 |  | 0 | (REF231650)
| 16 | mic49 | Ceftazdime Disc CAZ30ug | 50x10 | T | 500 |  | 0
| 17 | mic50 | Ceftazdime/Clavukanic acidCAZ/CLA30/10ug | 50x10 | T | 500 |  | 0
| 18 | mic51 | Ceftriaxone Disc CRO30ug | 50x10 | T | 500 |  | 0
| 19 | mic52 | Ertapenem Disc ETP10ug | 50x10 | T | 500 |  | 0
| 20 | mic53 | Imipenem Disc IMP10ug | 50x10 | T | 500 |  | 0
| 21 | mic54 | Meropenem Disc MEM10ug | 50x10 | T | 500 |  | 0
| 22 | mic55 | Oxacilline Disc OX1ug | 50x10 | T | 500 |  | 0
| 23 | mic57 | Vancomycin Disc VA30ug | 50x10 | T | 500 |  | 0
| 24 | mic58 | E-Test Vancomycin(VA) | 30sx1 | T | 60 |  | 0
| 25 | mic58-1 | E-Test Ertapenem(ERT) | 30sx1 | T | 60 |  | 0
| 26 | mic58-2 | E-Test Imipenem(IPM) | 30sx1 | T | 60 |  | 0
| 27 | mic62 | loop (1/100,1/1000) | 10sx1 | ea | 10 |  | 0
| 28 | mic69 | Rapid-S.pneumonia test | 22x1(40) | test | 66 |  | 0 | QC물질제공, lot변경시 QC결과첨부
| 29 | mic70-1 | Rapid-C.difficile Quik chek complete | 25x1 | t | 500 |  | 0 | QC물질제공, lot변경시 QC결과첨부
| 30 | mic71 | Aceton | 1,000x1 | mL | 1000 |  | 0
| 31 | mic72 | Hydrochloric acid(HcL) | 1,000x1 | mL | 1000 |  | 0
| 32 | mic73 | pot Hydroxide(KOH) | 1,000x1 | g | 1000 |  | 0
| 33 | mic76-1 | Heating element, heater | (220v/135w) | ea | 2 |  | 0 | Sterimax(WT-5000202)
| 34 | mic76-2 | Ceramic annealing tube dia(mm) | 15X120mm | ea | 2 |  | 0 | Sterimax(WT-5000205)
| 35 | mic-Anti | 품목 외 Anti Disc 5종 | 50x10 | T | 500 |  | 0
| 36 | pat07 | Ethyle Alcohol 100% | 1L | L | 500 |  | 0
| 37 | pat08 | Xylene | 1L | L | 400 |  | 0
| 38 | pat10 | Masked Formaline | 1L | L | 5 |  | 0
| 39 | pat11 | (Permount)Mounting medium | 500mL | mL | 2000 |  | 0 | Tissue teck용
| 40 | pat12 | 95% Ethyle alcohol | 18L | L | 900 |  | 0
| 41 | pat18 | Cover Glass(24X50mm) | 1,000ea | ea | 20000 |  | 0
| 42 | pat19 | Plastic Eembbeding casette | 500ea | ea | 9000 |  | 0 | 흰색 노란색
| 43 | pat21 | Microtome blade | 50ea | ea | 400 |  | 0
| 44 | pat23 | Cyto centrifuge paper | 200ea | ea | 200 |  | 0
| 45 | pat26 | Slide mailler | 10ea | ea | 200 |  | 0
| 46 | pat30 | Eosin Y alcoholic | 500mL | mL | 10000 |  | 0
| 47 | pat32 | Cell path | 2.5kg | kg | 50 |  | 0
| 48 | pat38 | Ammonia water | 1,000x1 | mL | 1000 |  | 0
| 49 | pat41/cr007j | 10mL, Formalin | 100x1 | EA | 1000 |  | 0
| 50 | rdz29 | Applicator | 200X50 | ea | 60000 |  | 0
| 51 | rdz45 | Parafilm | 4x125ft | ea | 10 |  | 0
| 52 | sa02 | Vacutainer SST 5ml | 100eax10 | ea | 50000 |  | 0 | (GNT)투명라벨.GR.BD
| 53 | sa03-2 | Vacutainer(PFA-sod.citrate) | 100eaX10 | ea | 5000 |  | 0 | (GNT)투명라벨.GR.BD
| 54 | sa04/ce007m4 | Vacutainer needle 21G | 100eaX10 | ea | 30000 |  | 0 | Niddle Holder공급
| 55 | sa27/cr007mL | TB Culture bottle/Long Sputum cup | 50eaX10 | ea | 5000 |  | 0 | 멸균필screwcap
| 56 | sa28/cr007m3 | Specimen cup(urine culturre) | 250ea | ea | 1500 |  | 0 | 멸균필screwcap
| 57 | sa29/cr007m2 | Stool cup (H:30mm) | 1,000ea | ea | 1000 |  | 0 | 주황색screwcap
| 58 | sa35-2/cr007m9 | Holdex holder(침부착) | 100x8x1 | ea | 12000 |  | 0
| 59 | ufu13 | Urine strips 10종(multistix) | 100T | T | 1000 |  | 0
| 60 | ufu18 | Centrifuge tube(눈금+) | 200ea | ea | 28000 |  | 0
| 61 | ufu19 | Centrifuge cap | 1,000ea | ea | 5000 |  | 0
| 62 | ufu20 | Cover glass(22X22mm) | 1,000ea | ea | 1000 |  | 0
-
* 그룹별 총액입찰(예정수량에 단가를 곱한 총액)
* Rapid 시약은 QC물질 무상제공 또는 QC물질이 없는 경우 QC결과 첨부해야함
* 본 수량은 예정량으로 실제 납품수량은 본원 사정에 의해 크게 변동할 수 있고 발주수량이 없을 수 있음.
* 순번 5~11는 임의(임대장비) 시약임으로 쌍방이 이의 없을때 입찰로 (계약)이 자동 갱신되며,
* 임대기간 연장된 검사장비는 본원의 장비운용 사정에 따라 시약 사용중단 또는 크게 변동 될 수 있음
Note on D58: PFA(3.2%Sod.citrate)2ml
Note on D60: Long Sputum Cup sa27